PEMBROKE PUBLIC SCHOOLS
72 Pilgrim Road, Pembroke, MA 

(781) 829-0832
      Fax (781) 829-8733
REQUEST FOR QUOTATION

Date Issued:  _August 6, 2009


Response FORM required on/before noon, August 18, 2008 at Pembroke Public Schools Business Office 72 Pilgrim Road. 

Pembroke Public Schools invites quotations for the following Public Work services:  

Routine and Emergency Fire Sprinkler Services for the period August 2009  through June 30, 2010.   Secondary School Systems can be viewed from 7 am to 4pm by appointment. Call 781-829-0832 or 781-264-6839 to make arrangements.             
Contract will be awarded within 5 days after quote closing, unless the time for the award is extended by mutual consent of the parties.  If necessary, changes to this RFQ will be mailed or faxed to bidders of record by issuance of an addendum.  Questions on this RFQ must be submitted in writing no later than two [2] days prior to the submittal deadline. Fax to attention of Christine Suckow & Alan Peterson at fax # 781-829-8733 or email to: christine.suckow@pembrokepublicschools.org , with a CC: alan.peterson@pembrokepublicschools.org .

The work will be awarded to the vendor who is deemed qualified and responsive and provides the best price. 

I.
Quotation Requirements:

A  Certificate of Insurance demonstrating that Liability and Worker’s Compensations Insurance is in force for the term of the contract with (1) minimum limits, (2) special items and (3) Certificate Holder specified per School Department policy and in accordance with State and Local Regulations.

Provide the rates for Labor and specify the price (or markup) of Materials you will use to bill Pembroke Public Schools for the work performed on the FORM below.  Should rates be subject to change during the term of the contract, written notice is required and acceptance or cancellation will be announced within 30 days.  (Please note:  Rates Quoted must, at a minimum, meet the prevailing wage rates established by the Massachusetts Department of Labor and Workforce Development). Vendor must comply with Mass General Law C149, 27B and provide all required payroll reporting. Advise Contract number, if your firm is on the State Bid List.

II.
 Scope of work to be included in this quotation is listed below;  

Perform NFPA 25 Inspection and test services on the Fire Suppression systems at Pembroke High School , High School WWT Building, and Pembroke Community Middle School [including the garage, dry zone].
Scheduling of this service is critical and must be coordinated with Facilities Manager to avoid disruptions of teaching and learning ant the two schools. School Staff returns from Summer recess on Aug 27.
a. Verify NFPA 25 requirements with Pembroke Fire Department, for this routine annual test

b. Coordinate with monitoring company [phone # is on premise]

c. Record and reset Fire Alarm Panel monitoring of tests
d. Inspect and test City Connection
e. Inspect and test Back check valve
f. Test all zones via drain valves [charts on premise], protect ground at each outlet .
g. Clean & service gages  & service cocks as needed.

h. Record results of water gong and electric alarms during test
i. Perform & document required Fire Suppression System Inspections & Tests per NFPA 
j. Assure systems are left in functional order and restored to operation before getting written sign-off on your service.
See the attached list [pg 4] for Building Fire Suppression System data.
III.  Response FORM to Quote Routine and Emergency Fire Sprinkler Services
Response to request for Quotation for the period August 2009 through June 30, 2010, must include all the following information:

1. Provide FIXED Price for scope of work described in Item II $________
2.   Day Hourly Rate:
1st Mechanic
$ _____________ per hr
    




*Mechanic Helper
$ ____________ per hr


Provide Billing information of minimum charges ______________, 
Truck __________or other costs billed in conjunction with Labor 
describe below: 

* Advise if all calls require Helper, or if one serviceman is 
generally planned alone.  __________

3.    Will you provide 24 hours Emergency Service ______ Yes   _____ No
What response time is typical for critical emergency?  __Hours


After-hours Rates:    Hourly Rate   $ ____________ per hour 
Minimum Charge  $ ____________

4.      If applicable, include travel rates & applicability             





Will Travel Time Charges apply: __ No ____ Yes
If Travel or other miscellaneous charges apply, please attach a list. Please include charges associated with routine gage replacements and service to clear water gong, if needed.
5.  Attach License and Training Certifications for your service employees. 
Signed by: ___________________________    Title _______________________   
Date _____________________

Company Name:          _______________________________________

Company Address:
_______________________________________




_______________________________________

III. Rule for Award

The work will be awarded to the vendor who is deemed qualified, responsive, and provides the best price.

The Pembroke School Department reserves its right to accept any quotation and to reject any and all quotations, and to waive any informality if it is deemed in the best interest of the Pembroke Public Schools.  Pembroke Public Schools does not discriminate on the basis of race, color, religious creed, national origin, sex, sexual orientation, age, ancestry, or handicap in its admission or access to, or treatment or employment in its programs and activities

Pembroke Public Schools – Fire Suppression Inspection & Test 
V. Non-Collusion Form and Tax Compliance Form

Persons submitting a bid or proposal to provide supplies or services to Pembroke Public Schools, or to purchase supplies from Pembroke Public Schools, must submit a certification of non-collusion and tax compliance. 

CERTIFICATE OF NON-COLLUSION

The undersigned certifies under penalties of perjury that this bid or proposal has been made and submitted in good faith and without collusion or fraud with any other person. As used in this certification, the word "person" shall mean any natural person, business, partnership, corporation, union, committee, club, or other organization, entity, or group of individuals.

___________________________________________ 
Signature of individual submitting bid or proposal

___________________________________________ 
Name of business

TAX COMPLIANCE CERTIFICATION

Pursuant to M.G.L. c. 62C, §49A, I certify under the penalties of perjury that, to the best of my knowledge and belief, I am in compliance with all laws of the Commonwealth relating to taxes.

___________________________________________ 
Signature of person signing bid or proposal

___________________________________________ 
Name of business


Additional Contract Terms and Conditions

· Standard terms and conditions required by the Town of Pembroke and Pembroke Public Schools include $1MM general liability insurance,  and certification of Workman’s compensation insurance.

· Payment terms net 30 days after prompt invoicing. Dates for committee approvals may lead to actual payment times of 45 days.  Invoices submitted for payment over 30 days from service may see similar delays in payment. 

· All work is governed by Purchase Order.

Pembroke Public Schools  - Fire Suppression Systems 
Middle School 559 School Street

This 2005 renovated 104,000 sf building and Garage has a Gamewell fully-addressable Fire Alarm System and a victaulic sprinkler system with Firelock riser components consisting of the following major items:

 1 main riser with tamper and flow switches
[8 wet zones + 1 dry zone]

1 Dry system riser with 2 drains


6 control valves
 1 Main Drain





1 Inspector’s Test flow point

 1 Watts 774  - 4” Backflow



5 wet drain valves

1 Gamewell Control Panel





 40 Smoke Detectors



1 remote annunciator

 4 Beam Smoke Dectectors



1 Remote panel

 3 Duct Smoke detectors



30 pull stations

60 A/V horn strobes




3 Waterflow switches

4 Sprinkler Tamper switches


1 Sprinkler Pressure Switch

1 Master Box






High School 80 Learning Lane

This 2004 renovated 360,000 sf building has an EST-3  fully-addressable Fire Alarm System and a 9 zone victaulic sprinkler system with Firelock riser components consisting of the following major items:

 1 main riser with tamper and flow switches
[9 zones in system]
 1 Main Drain





3 Inspector’s Test flow point

 1 Riser Back-flow preventer


6 control valves

 1 Conbraco 4” –NZ916 double check 

5 wet drain valves

1 EST-3 Control Panel





 80 Smoke Detectors



3 remote annunciator

8  Beam Smoke Dectectors



2  Remote panel

48  Duct Smoke detectors



35 pull stations

60 A/V horn strobes




3 Waterflow switches

4 Sprinkler Tamper switches


1 Sprinkler Pressure Switch

1 Master Box



High School WWT Building
EST-3 Fire Alarm System


3 zone Suppression system

end
5/27/2016
Page 2 of 4



